## Deer Park Farm
Date | Test name/descroption | PA50 | N50 | m2 equiv. | warnings | AR pressure | max pressure | Atm. pressure | Int. temperature | Ext. temperature | wind m/s | notes
31.01.24 | DPF- main no. 1 | 4.96 | 4.85 | 0.04 |  | 10 | 11.6 | 101325 | 17.5 | 11.9 | 5.9
31.01.24 | DPF- main no. 2 | 4.15 | 4.06 | 0.04 | over pressure | 10 | 12.3 | 101325 | 18.5 | 11.9 | 5.9
31.01.24 | DPF- main no. 3 | 4.59 | 4.49 | 0.04 |  | 8 | 9 | 101325 | 18.5 | 11.9 | 5.9
04.02.24 | DPF- main no. 4 | 4.59 | 4.49 | 0.04 |  | 8 | 8.8 | 101325 | 18 | 11.8 | 5.2
04.02.24 | DPF- main no. 5: one vent open | 6.4 | 6.26 | 0.05 |  | 8 | 5.8 | 101325 | 18 | 11.8 | 5.2 | actual opening = 1cm x 100 cm
04.02.24 | DPF- main no. 6: two vents open | 7.56 | 7.39 | 0.06 |  | 8 | 4.5 | 101325 | 18.5 | 11.8 | 5.2 | actual opening = 2 x 1cm x 100 cm
01.02.24 | DPF- annexe no. 1 | 5 | 4.49 | 0.02 |  | 8 | 8.2 | 101325 | 15.4 | 7.7 | 0.9
01.02.24 | DPF- annexe no. 2 | 4.78 | 4.52 | 0.02 |  | 8 | 7.6 | 101325 | 15.9 | 6.8 | 0.9
01.02.24 | DPF- annexe no. 3 | 4.72 | 4.46 | 0.02 |  | 8 | 7.6 | 101325 | 16.3 | 6.8 | 0.9
| Main house | dual AR, same pressure in each
| Volume | 348.7857
| Envelope | 341.1082
| Annexe | single AR
| Volume | 191.6
| Envelope | 172

## Oak House
Date | Test name/description | AP50 | N50 | m2 equiv. | warnings | Envelope | Volume | AR pressure | r2 | Assumed AP50 | Rec. tanks | Min pressure | max pressure | Atm. pressure | Int. temperature | Ext. temperature | wind m/s | notes | Test results
2024-02-06 | AP_OakHouse_01.pdf | 3.6 | 3.19 | 0.04 | Valid | 584 | 660 | 8 | 0.98 | 4.5 | 1.5 | 1.2 | 5.7 | 101.325 | 18.8 | 11.9 | 8.4 |  | AP_OakHouse_01.pdf | Wind speed over 6m/s so not valid
2024-02-06 | AP_OakHouse_02.pdf | 5.38 | 4.76 | 0.19 | Invalid | 584 | 660 | 7.9 | 0.81 | 4.5 | 1.5 | 2.1 | 3.9 | 101.325 | 19.6 | 11.9 | 8.4 | Pressure too low, exponent threshold, R2 threshold | AP_OakHouse_02.pdf
2024-02-06 | AP_OakHouse_03.pdf | 3.11 | 2.75 | 0.05 | Valid | 584 | 660 | 8 | 0.96 | 4.5 | 1.5 | 2.7 | 5.9 | 101.325 | 20.4 | 11.9 | 8.4 |  | AP_OakHouse_03.pdf
2024-02-06 | AP_OakHouse_04.pdf | 4.46 | 3.95 | 0.05 | Invalid | 584 | 660 | 8 | 0.97 | 4.5 | 1.5 | 0.8 | 5 | 101.325 | 21 | 12 | 8.9 | Invalid (exponent threshold) | AP_OakHouse_04.pdf
2024-02-06 | AP_OakHouse_05.pdf | 4.78 | 4.23 | 0.11 | Invalid | 584 | 660 | 6.4 | 0.64 | 3.6 | 1.2 | 1.6 | 3.6 | 101.325 | 22.1 | 12.2 | 8.9 | Invalid (pressure too low, exponent threshold, r² threshold) | AP_OakHouse_05.pdf
2024-02-06 | AP_OakHouse_06.pdf | 4.37 | 3.86 | 0.05 | Valid | 584 | 660 | 6.9 | 0.97 | 3.6 | 1.2 | 0.8 | 4.1 | 101.325 | 22.4 | 12.2 | 8.9 |  | AP_OakHouse_06.pdf
2024-02-07 | AP_OakHouse_07.pdf | 640.918.69 |  | 26.47 | Invalid | 152 | 106 | 4 | 0.81 | 8 | 0.4 | 0.4 | 0.6 | 101.325 | 16.9 | 8.4 | 3 | Leanto - roof vents open | AP_OakHouse_07.pdf
2024-02-07 | AP_OakHouse_08.pdf | 9.43 | 13.52 | 0.03 | Invalid | 152 | 106 | 5 | 0.95 | 8 | 0.4 | 0.1 | 0.9 | 101.325 | 17.5 | 8.4 | 3 | Leanto - roof vents open | AP_OakHouse_08.pdf
2024-02-07 | AP_OakHouse_10.pdf | 8.2 | 11.76 | 0.02 | Invalid | 152 | 106 | 6 | 0.9 | 8 | 0.4 | 0 | 0.9 | 101.325 | 18.1 | 8.4 | 3 | Leanto - roof vents open | AP_OakHouse_10.pdf
2024-02-07 | AP_OakHouse_09.pdf | 59.27 | 84.99 | 0.46 | Invalid | 152 | 106 | 5.5 | 0.8 | 8 | 0.4 | 0.3 | 0.7 | 101.325 | 18.5 | 8.4 | 3 | Leanto - roof vents open | AP_OakHouse_09.pdf
2024-02-07 | AP_OakHouse_11.pdf | 25.18 | 36.11 | 0.13 | valid | 152 | 106 | 8 | 0.98 |  |  | 0.4 | 1 | 101.325 | 19 | 8.4 | 3 | Leanto - roof vents open | AP_OakHouse_11.pdf
2024-02-07 | AP_OakHouse_12.pdf | 23.91 | 34.24 | 0.12 | valid | 152 | 106 | 8 | 0.99 |  |  | 0.5 | 1.2 | 101.325 | 19.5 | 8.1 | 2.6 | Leanto - roof vents open | AP_OakHouse_12.pdf
2024-02-07 | AP_OakHouse_13.pdf | 26.02 | 37.3 | 0.15 | valid | 152 | 106 | 9 | 0.97 |  |  | 0.5 | 1.6 | 101.325 | 19.9 | 8.1 | 2.6 | Leanto - roof vents open | AP_OakHouse_13.pdf
2024-02-07 | AP_OakHouse_14.pdf | 14.87 | 21.33 | 0.05 | Invalid | 152 | 106 | 8 | 0.99 |  |  | 0.2 | 1.2 | 101.325 | 20.3 | 8.1 | 2.6 | Leanto - roof vents open | AP_OakHouse_14.pdf
2024-02-07 | AP_OakHouse_15.pdf | 4.94 | 4.37 | 0.07 | valid | 584 | 660 | 8 | 0.98 |  | 1.6 | 1.2 | 4 | 101.325 | 20.4 | 8.1 | 2.6 | Main House | AP_OakHouse_15.pdf | Vents in dining velux open
2024-02-07 | AP_OakHouse_16.pdf | 5.31 | 4.7 | 0.1 | valid | 584 | 660 | 8 | 0.97 |  | 1.6 | 1.4 | 4 | 101.325 | 21 | 8.1 | 2.6 | Main House | AP_OakHouse_16.pdf | Could not find vent closing pole
2024-02-07 | AP_OakHouse_17.pdf | 5.26 | 4.65 | 0.08 | valid | 584 | 660 | 8 | 0.97 |  | 1.6 | 1.4 | 4.6 | 101.325 | 21.4 | 8.1 | 2.6 | Main House | AP_OakHouse_17.pdf
2024-02-07 | AP_OakHouse_18.pdf | 27.53 | 39.47 | 0.17 | invalid | 152 | 106 |  | 0.7 |  |  | 0.5 | 1 | 101.325 | 21.3 | 8.1 | 2.6 | Leanto – vents closed | AP_OakHouse_18.pdf | One Vent would not close
2024-02-07 | AP_OakHouse_19.pdf | 22.52 | 32.3 | 0.11 | valid | 152 | 106 |  | 0.99 |  |  | 0.5 | 1.3 | 101.325 | 21.5 | 8.1 | 2.6 | Leanto – vents closed | AP_OakHouse_19.pdf
2024-02-07 | AP_OakHouse_20.pdf | 19.92 | 28.56 | 0.08 | valid | 152 | 106 |  | 0.98 |  |  | 0.4 | 1.5 | 101.325 | 21.7 | 8.1 | 2.6 | Leanto – vents closed | AP_OakHouse_20.pdf
2024-02-07 | AP_OakHouse_21.pdf | 33.78 | 50.85 | 0.25 | invalid | 143 | 95 |  | 0.86 |  |  | 0.6 | 1.4 | 101.325 | 21.1 | 8.1 | 2.6 | Master Bed | AP_OakHouse_21.pdf | Large internal gap between oak post and wall calls validity of test into doubt.
2024-02-07 | AP_OakHouse_22.pdf | 21.18 | 32.02 | 0.1 | valid | 143 | 95 |  | 0.97 |  |  | 0.5 | 1.6 | 101.325 | 21.3 | 8.1 | 2.6 | Master Bed | AP_OakHouse_22.pdf
Leanto attemts
[8 empty] | Target | r2
Room | Area | Volume | Envelope |  |  |  |  | 4 | 0.94
House | 223.68 | 659.81 | 584.04 |  |  |  |  | 5 | 0.9
leanto | 35.4 | 106.2 | 151.81 |  | 84.96 |  |  | 5.5
master | 35.75 | 95.26 | 143.2116 |  |  |  |  | 6
leanto envelope comprises:
Floor | 35.4 |  | 35.4
East wall | 21.06
North leanto end | 7.5
South leanto end | 7.5
Roof | 44.95
Insulated wall to house | 35.4
151.81
Master Volume comprises
Main | 61.6
Ensuite | 28.08
Mezannine | 5.58
95.26
Master Envelope comprises
Walls | 74.882
Floor | 30.95
Roof | 37.3795
Total | 143.2116
| Master Walls | L | H1 | H2 | Pitch | Radians |  | Area
| West gable | 5.5 | 2.4 | 4.5485 | 38 | 0.66323 |  | 19.1085
| South wall | 6.5 | 2.4 |  | 0 |  |  | 15.6
| East wall of ensuite | 3.9 | 2.4 |  |  |  |  | 9.36
| North wall of ensuite | 3 | 2.4 |  |  |  |  | 7.2
| Around door | 1.6 | 2.4 | 3.6501 | 38 | 0.66323 |  | 9.6801
| North wall | 3.5 | 2.4 |  |  |  |  | 8.4
| North wall oi mezannine | 1.5 | 1.2501 |  |  |  |  | 1.8751
| East wall of mezannine south | 2.75 | 0 | 2.1485 | 38 | 0.66323 |  | 2.9542
| East wall of mezzannine north | 0.35 | 2.1485 | 1.8751 | 38 | 0.66323 |  | 0.70413
| Total | [6 empty] | 74.882
Master Floor
| Main room | 3.5 | 5.5 |  |  |  |  | 19.25
| Ensuite + Dressing | 3 | 3.9 |  |  |  |  | 11.7
| Total | [6 empty] | 30.95
| Master Roof |  | Wflat | Whypot |  | Radians
| Main room | 3.5 | 5.5 | 6.9796 |  | 0.66323 |  | 24.4286
| Ensuite south pitched | 1.5 | 2.75 | 3.4898 |  | 0.66323 |  | 5.2347
| Ensuite north pitched | 1.5 | 0.35 | 0.44416 |  | 0.66323 |  | 0.66623
| Ensuite flat east | 1.5 | 3.9 | 3.9 |  |  |  | 5.85
| Ensuite north flat | 1.5 | 0.8 | 0.8 |  |  |  | 1.2
| Total | [6 empty] | 37.3795

## Tony's
Date | Test name/descroption | PA50 | N50 | m2 equiv. | warnings | AR pressure | max pressure | Atm. pressure | Int. temperature | Ext. temperature | wind m/s | notes

## Veronica's
Date | Test name/descroption | PA50 | N50 | m2 equiv. | warnings | AR pressure | max pressure | Atm. pressure | Int. temperature | Ext. temperature | wind m/s | notes

## Paul's
Date | Test name/descroption | PA50 | N50 | m2 equiv. | warnings | AR pressure | max pressure | Atm. pressure | Int. temperature | Ext. temperature | wind m/s | notes